## Sheet1
2024-08-01
acid/conjugate base | pH (HH) | measured pH (1) | measured pH (2) | Fit | pKa | 4.43
0.11765 | 5.6694 |  |  |  | k | 1
0.12 | 5.6608
0.33333 | 5.2171 | 4.82 | 4.71
0.54545 | 5.0032
0.78947 | 4.8427
0.8 | 4.8369
0.85714 | 4.8069
1 | 4.74 | 4.43 | 4.26
1.3333 | 4.6151
1.5 | 4.5639
1.8 | 4.4847
2.8571 | 4.2841
3 | 4.2629 | 3.84 | 3.71
5 | 4.041
6.3333 | 3.9384
7.25 | 3.8797
10.6667 | 3.712
13.3333 | 3.6151
0.1 | 5.74 | 5.5538 |  | 5.43
0.2 | 5.439 | 5.277 |  | 5.129
0.4 | 5.1379 | 4.8617 |  | 4.8279
0.8 | 4.8369 | 4.5848 |  | 4.5269
1.6 | 4.5359 | 4.2157 |  | 4.2259
3.2 | 4.2349 | 3.5696 |  | 3.9249
6.4 | 3.9338 | 3.2466 |  | 3.6238
12.8 | 3.6328 |  |  | 3.3228
12.8 | 3.6328 | 3.4097
6.4 | 3.9338 | 3.5461
3.2 | 4.2349 | 3.8641
1.6 | 4.5359 | 4.1822
0.8 | 4.8369 | 4.5003
0.4 | 5.1379 | 4.7729
0.2 | 5.439 | 5.2274
0.1 | 5.74 | 5.5
ratio | pHmeas
0.1 | 5.45
0.1 | 5.595
0.1 | 5.4527
0.1 | 5.4527
1 | 4.459
1 | 4.507
1 | 4.5068
1 | 4.5068
12.8 | 3.37
12.8 | 3.419
12.8 | 3.419
12.8 | 3.3717
Adi's file with Dr. Lowe's results from 8/1/24.
Results using high-end pipets are very similar to Adi's run from high r to low r.
low r to high r
bottom orange dots
low r to high r
middle orange dots with blue outline
green fit: pH = 4.43 - log [acid]/[cbase]
ideal Henderson-Hasselbalch
blue dots
magenta dots

## pH calibration
pH calibration curve
before run | voltage V | pH standard
first meas | 1.55 | 7
first meas | 1.03 | 4
| 1.64 | 7
| 1.65 | 7
| 1.65 | 7
| 1.03 | 4
| 1.02 | 4
| 0.99 | 4
after run
| 1.62 | 7
| 1.62 | 7
| 1.64 | 7
| 1.63 | 7
| 0.94 | 4
| 0.98 | 4
| 0.98 | 4
| 0.98 | 4
Ratio | pH (yellow calib) | voltage (yellow) | pH (green calib)
0.1 | 5.45 | 1.3194 | 5.5942
1 | 4.459 | 1.1099 | 4.6397
12.8 | 3.37 | 0.87963 | 3.5909
After the experiment, the voltage measurements of the pH standards is generally lower than those before the experiment.
Based on calib after the expt, the pH values are about ~.14 higher than the ones obtained with the calib before the expt.